## Slide 1: Heart Rate Monitor with the Arduino
Jens Gansloser
Fabian Meyer

## Slide 2: Project
Create a Heart Rate Monitor with the Arduino.
Advantages against commercial devices:
Full source code available
Full insight into the used technology
Can be compared to commercial ones in precision and performance

## Slide 3: Measurement Principle
Reflection
TODOOOOOOO
LED (Red/IR)
Photodiode
Skin
Blood
Blood
Notes: Bluetooth nicht unterstützt, da falsches Modul bestellt wurde (nicht kompatible Version um am PC zu nutzen).
Hinzufügen von bluetooth Unterstützung ist einfach, da schon seriell verwendet wird.

## Slide 4: Hardware
Adafruit TSL Light Sensor
  Broadband and IR Photodiode
Red and IR LED
Bluetooth Module (not used)
Arduino (atTiny, …)
  Needs I2C support
TODO:
PICTURES

## Slide 5: Data Flow
Arduino
Bluetooth module
Light sensor
I2C
UART
PC / Smartphone
Heart rate
Oxygen saturation
Heart rate (bpm)
Heart rate calculation
Notes: Bluetooth nicht unterstützt, da falsches Modul bestellt wurde (nicht kompatible Version um am PC zu nutzen).
Hinzufügen von bluetooth Unterstützung ist einfach, da schon seriell verwendet wird.

## Slide 6: Data Flow
Implementation not trivial: Prototype implemented on PC
Arduino
Light sensor
I2C
UART
PC
Heart rate
Light Sensor Data
Heart rate calculation
Notes: Auf PC implementiert, um zu debuggen und optimieren. Umsetzung auf Arduino möglich.
Erstmal darauf Konzentriert den Puls zu messen.

## Slide 7: Software
QSerialPort
FFTW

## Slide 8: Signal Processing

## Slide 9: Naive Approach

## Slide 10: Fourier Transform
Discrete Signal
Frequency
Transform

## Slide 11: Fourier Transform
Discrete Signal
Frequency
Transform
……………
Filtering, Window Function, …

## Slide 12: Which FT?
Complex, real?
Discrete, Continues, …
…
 Complex Discrete Fourie Transform (DFT)
TODO: FORMULA

## Slide 13: Signal Processing
Filter
Window Function
FFT
Converting
Scaling

## Slide 14: Signal Processing
Filter
Window Function
FFT
Converting
Scaling
Butterworth Bandpass Filter
(Convolution)
 Remove unwanted frequencies
Hanning-Window
 Reduces Leakage Effect
Time Domain  Frequency Domain
Interpret Output Array,
Prepare data,
Remove DC offset,
Find peak frequency, convert to bpm

## Slide 15: Signal Processing
Output Array

## Slide 16: Signal Processing
A lot of things to consider:
  Sample Frequency (Nyquist-Shannon theorem)
  Segment Duration
  Filter Parameters
  Target Frequency
  Filter Stabilization Time
  Correct Data Scaling
  Zero Padding (interpolation)
  Find correct Frequencies
  Improving Frequency Resolution
  Number of samples
  ……

## Slide 17: Further Steps / Improvement
Use atTiny
Add bluetooth module
Port to Arduino (FFT library is available)
Add oxygen saturation measurement (easy to implement - the technology is the same as the heart rate measurement)
Create wrist band

## Slide 19: Sources